## Slide 1: Innovating New Grid Technologies: Providing Electricity on Demand
John P. Lemmon
DOE ARPA-E Program Director

## Slide 2: Energy Technology “Valleys of Death”

## Slide 3: You Have a Choice to Make
Electricity generation with renewables will never compete economically with hydrocarbons and the grid will continue to be vertically integrated.
Renewable and/or distributed generation coupled storage will become economically competitive with hydrocarbons and lead to flat integration of transmission and distribution .

## Slide 4
Chart: 
| 1845.0 | 1850.0 | 1855.0 | 1860.0 | 1865.0 | 1870.0 | 1875.0 | 1880.0 | 1885.0 | 1890.0 | 1895.0 | 1900.0 | 1905.0 | 1910.0 | 1915.0 | 1920.0 | 1925.0 | 1930.0 | 1935.0 | 1940.0 | 1945.0 | 1950.0 | 1955.0 | 1960.0 | 1965.0 | 1970.0 | 1975.0 | 1980.0 | 1985.0 | 1990.0 | 1995.0 | 2000.0 | 2005.0 | 2010.0
Biomass | 1.757 | 2.138 | 2.389 | 2.641 | 2.767 | 2.893 | 2.872 | 2.851 | 2.683 | 2.515 | 2.306 | 2.015 | 1.843 | 1.765 | 1.688 | 1.61 | 1.533 | 1.455 | 1.397 | 1.358 | 1.261 | 1.5623 | 1.4241 | 1.3199 | 1.3348 | 1.431 | 1.4987 | 2.4755 | 3.0162 | 2.7351 | 3.1011 | 3.0082 | 3.1168 | 4.2854
Coal | 0 | 0.219 | 0.421 | 0.518 | 0.632 | 1.048 | 1.44 | 2.054 | 2.84 | 4.062 | 4.95 | 6.841 | 10.001 | 12.714 | 13.294 | 15.504 | 14.706 | 13.639 | 10.634 | 12.535 | 15.972 | 12.3471 | 11.1673 | 9.8378 | 11.5806 | 12.2645 | 12.6628 | 15.4228 | 17.4784 | 19.1726 | 20.0887 | 22.5795 | 22.7965 | 20.834
Petroleum | 0 | 0 | 0 | 0.003 | 0.01 | 0.011 | 0.011 | 0.096 | 0.04 | 0.156 | 0.168 | 0.229 | 0.61 | 1.007 | 1.418 | 2.676 | 4.28 | 5.897 | 5.675 | 7.76 | 10.11 | 13.3155 | 17.255 | 19.9192 | 23.2457 | 29.5207 | 32.7323 | 34.2045 | 30.9247 | 33.5516 | 34.4384 | 38.2617 | 40.3881 | 36.0095
Natural Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.082 | 0.257 | 0.147 | 0.252 | 0.372 | 0.54 | 0.673 | 0.813 | 1.191 | 1.932 | 1.919 | 2.665 | 3.871 | 5.9684 | 8.9979 | 12.3854 | 15.7687 | 21.7947 | 19.9479 | 20.2355 | 17.7035 | 19.6032 | 22.6711 | 23.824 | 22.5654 | 24.5748
Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.022 | 0.09 | 0.25 | 0.386 | 0.539 | 0.659 | 0.738 | 0.668 | 0.752 | 0.806 | 0.88 | 1.442 | 1.4154 | 1.3598 | 1.608 | 2.0591 | 2.6335 | 3.1546 | 2.9001 | 2.9702 | 3.0464 | 3.2053 | 2.8111 | 2.7029 | 2.5385
Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006026 | 0.043164 | 0.23935 | 1.8998 | 2.7392 | 4.0756 | 6.1043 | 7.0754 | 7.8623 | 8.1608 | 8.4344
Geothermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.000359 | 0.001978 | 0.005511 | 0.03378 | 0.052699 | 0.097421 | 0.17075 | 0.15206 | 0.16436 | 0.1807 | 0.20798
Solar/PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.000111 | 0.05942 | 0.069347 | 0.065587 | 0.063446 | 0.1259
Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6e-05 | 0.029007 | 0.03263 | 0.057057 | 0.17809 | 0.92343
U.S. Primary Energy Consumption
Biomass
Coal
Oil
Nat. Gas
Source: EIA

## Slide 5: U.S. Electricity Net Generation
Chart: 
Source: EIA
Coal
Hydro
Nat. Gas
Oil
Nuclear

## Slide 6: U.S. Installed Solar Capacity

## Slide 7: U.S. Wind Power
Total U.S. wind capacity reached 60 GW in 2012 (expected energy production of roughly a quarter of installed nuclear power)
Expansion of wind surpassed gas in capacity, not in expected energy production
30% Denmark (1st)
4.4% U.S. (12th)
LBNL
2012 Wind Technologies
Market Report

## Slide 8: Increasing Intermittent Generation
Source: National Solar Radiation Database
Impacts predictability and inertia on the grid, resulting in decreased resiliency.

## Slide 9: Emerging Power System Challenges
  Increasing wind and solar generation
  Decentralization of generation
  Aging infrastructure
  Changing demand profiles
  Increasing natural gas generation
All of these challenges require greater power system flexibility.
What role can energy storage have to meet these challenges.

## Slide 10: Evolution of Grid Requirements
GRID
Modernization
Affordable
Safe
Accessible
Reliable
Clean
Secure
Resilient
Flexible
Federal Power Act
1930s
Blackouts
1960s
Oil Embargo, Environmental concerns
1970s
9/11
Stuxnet
2000s
Hurricanes
Katrina, Sandy
Polar Vortex
2010s
Increasing Dynamics
and Uncertainty
2020s
Source: DOE Grid Tech Team

## Slide 11: U.S. Electric Grid - Big with Several Players
157,000 miles of high-voltage
electric transmission lines.
Over 15,000 generating units.
143 million customers
Total Electricity Revenues in 2009 - $353B
Over 3100 electric utilities in the U.S.
  213 stockholder owned – provide 73% of electric power.
  2000 public utilities, state and local government - provide 15% electric power.
  930 electric cooperatives- provide about 12% electric power.
  2100 nonutility power producers, including both independent power companies and customer-owned distributed facilities.

## Slide 12: Stationary Power Today
Strengths
~55% efficiency (HHV) for NGCC CO2 point source for future CCS High capacity factor Mature technology
Weaknesses
T&D Losses Grid vulnerability to natural disasters and terrorist attacks Difficulty in integrating intermittent renewable technologies Future efficiency gains incremental
Future generation dominated by NGCC and increasing renewables: emissions improvement over coal but weaknesses need to be addressed

## Slide 13: Energy Loss in Today’s Grid
Source: Nourai, et al; “Load Leveling Reduces T&D Line Losses”, IEEE Transactions on Power Delivery, 2008
The majority of the losses are in the distribution level
Note: The losses above are at peak load, based from a study of AEP’sT&D system. The ranges above do not directly correlate to the previous page due to differences in source data
Typical losses on Substation level: 1.0% - 2.5%
Typical losses on Distribution level: 6.0% - 8.0%
Typical losses on Transmission level:
2.5% - 5%

## Slide 14: Impact of Efficiency Losses in T&D
Impact of Capturing Losses
375,000 GWh1 =
enough to power 8.9 million of homes for a year
Reducing 200 million tons of CO2 emissions =
removing 38.5 million cars from the road
200 million tons of CO2 = output of 56 coal plants
Chart: CO2 Equivalent of Transmission and Distribution Losses
| 1996.0 | 1997.0 | 1998.0 | 1999.0 | 2000.0 | 2001.0 | 2002.0 | 2003.0 | 2004.0 | 2005.0 | 2006.0 | 2007.0 | 2008.0 | 2009.0
 | 201.2037 | 207.4109 | 214.2111 | 226.7453 | 229.6899 | 206.8696 | 231.3029 | 230.5705 | 248.3759 | 233.1461 | 227.6603 | 227.2863 | 221.1023 | 205.5916
(1) EIA 2009 data of GWh generated (less direct use) and GWh consumed
These losses equate to a significant amount of CO2

## Slide 15: Grid Designed for Peak Power
14
14
% of Time (Year)
(Or Hours in a Year)
Total Load Responsibility
Forecasted Peak
Planning Reserve Requirements
100%
MW
0
Peaking Generation
Intermediate Generation
Baseload Generation
8,760
Load Responsibility (MW)
Hours in Year
0
Generation Load Duration Curve
$3.5 Billion Spent in 2009 Demand-Side Management
Generation assets can be deployed based on need, transmission investments must be sized for peak demand.

## Slide 16: Generation-Demand Balance
Power generation matches demand at all times
Frequency stability directly affected by generation-demand balance
60 Hz
Frequency Ctrl
Automated Generation Control (AGC)
slope = system inertial
0 s
5-10 s
20-30 s
5-10 min
Contingency Reserves
Regulation Reserves
30 min
Ramping Reserves
3 hrs
Grid Ancillary Services

## Slide 17: Optimal Transmission Network: When?
07:30
15:45
10:20
Midwest ISO real time LMPs for June 20th, 2012

## Slide 18: Grid Ancillary Services
Contingency Reserves
Time-Scale
Ancillary Service
Today’s Grid
Control
30
sec
2-4
sec
Automatic Generation Control (AGC)
Frequency
Control
10
min
Regulating Reserves (Spinning)
30
min
Wind Variability Response
Ramping Reserves (Non-Spinning)
Solar Time Shifting
Peak Load Reduction
1
hr
2-3
hr
Droop Control
Load Shedding
Curtailment
Spinning Reserves
Economic Dispatch
Non-Spinning Res, DR
Unit Commitment
Bulk DR
Ancillary Services Categories Contingency reserves Regulating reserves Ramping reserves | Reserve Control Resources Generators Inertial Response (sec) Spinning Reserves (sec-min) Non-spinning Reserves (min-hrs)
Early ES Market
Potential ES Market

## Slide 19: Battery Performance in Regulation
A fossil plant following a regulation command signal.
(left)
Energy Storage accurately following a regulation command signal. (right)
Energy Storage Output
Regulation Signal
Courtesy Scott Baker, PJM
The high value of regulation services decreases the cost constraints for grid storage that can meet performance requirements.

## Slide 20: Grid Storage Today
Bulk Generation
Dispatch, Set-points & Inertia
WIND
SOLAR
Bulk Renewables
Curtailment
Industrial Load
Bulk DR (hour-day)
Majority of storage is pumped hydro, hydroelectric can also be used to balance renewables.

## Slide 21: Performance and Cost Metrics
  - Cost
  Cycle life
  Reliability
  Flexibility
  Safety
  $0.025 per kWhe = $100 per kWh
  5000 cycles • 80% RTE
For most applications a 10x step change is needed.
Chemical Reviews 111 (5), 3577-3613

## Slide 22: Increasing DG and DS (near term)
Central/Bulk
Distributed Utility
End-User
Level of Benefits
Reliability, deferral, peak shaving, etc.
Regulation
Distributed Generation Markets – Impact of Future Fuel Cell Applications, DNV KEMA report prepared for ARPA-E (2013). Cost-Effectiveness of Distributed Generation Technologies, Iton, submitted to PG&E, 2011
Micro grids
Residential
Commercial & Industrial
Highest accumulated value at
Edge of Grid

## Slide 23: Predicted Ramping Requirements (CAISO)
Adapted from http://www.caiso.com/Documents/DR-EERoadmap.pdf
2013 (actual)
2016
2020
Potential over generation
Increased ramping
Net load (load minus renewables) for March 31

## Slide 24: Predicted Ramping Requirements (CAISO)
Microgrids Sub Group of the ESS Protocol Working Group June 2014
Consolidated duty cycle with solar and wind smoothing with regulation.
Micro grid ES duty cycle
Stacking multiple grid application with different values increases the value of grid storage.
Load and generation mix for micro-grid
$
$

## Slide 25: System Drives Cell Metrics
Flow battery performance based cost model.
Electrode Kinetics
Defines operation parameters and critical electrochemical properties.

## Slide 26
Characteristics Scales of the Electrochemical Cell
Electrode
mm
mm – cm - m
nm
mm
Double layer
Concentration boundary layer
Bulk Electrolyte
F
V
Cb
Ce
2F =0
Fm
Fs
Potential distribution:
mass transport-Conc BL:
charge transfer:
ηc
ηohm
ηa

## Slide 27: Additional DG and DS (future grid)
Bulk Generation
Dispatch, Set-points & Inertia
WIND
SOLAR
Bulk Renewables
Curtailment
Industrial Load
Bulk DR (hour-day)
Net Load
Active control of Load & Distributed Generation
Stacking multiple grid applications across TD network with seamless integration.

## Slide 28
ARPA-E & Electric Power
GENI
REACT
BEETIT
METALS
AMPED
GRIDS
HEATS
Solar ADEPT
FOCUS
ARID
MOSAIC
GEN-SET
REBELS
ADEPT
SWITCHES

## Slide 30: Reliable Electricity Based on ELectrochemical Systems (REBELS)
Duration of stored energy
Nearer-term to market
Longer-term to market
Intermediate temperature operation enables load-following fuel cells for distributed generation applications and grid support
FUEL CELL
FUEL CELL + BATTERY MODE
FUEL CELL + FUEL PRODUCTION

## Slide 31: Path to Market
Reliable and flexible
generation / storage needs
Establish manufacturing, supply chains via early markets
Willingness to pay premium
DoD
$8,000+ /kW
Telecom / Data Centers
$3,000-5,000 / kW
Alaska & Hawaii
$1,500-$2,000 / kW
Residential DG
$1,000-1,500 / kW

## Slide 32
www.arpa-e.energy.gov